INSTRUCTIONS ON USE - REGULATIONS fOr LABORATORIES

SAFETY LEVEL S1

-------------------------------------------------------------------------------------------------------------------------

1. Location for which this is relevant

-------------------------------------------------------------------------------------------------------------------------

The laboratory (the S1 genetics labs) is to be used for genetic work within the safety level S1 (no risk for humans and the environment).

-------------------------------------------------------------------------------------------------------------------------

2. Laws – and advisory rules that apply

-------------------------------------------------------------------------------------------------------------------------

- Laws GenTG § 7

- Laws GenTSV §§ 8,9,12 and Appendix III

- Law on protection against infection

- Biological products directive

-------------------------------------------------------------------------------------------------------------------------

3. Registration of the genetic S1 lab and first genetic work in the lab

Laboratories: 6.01.0, 6.02.0

Equipment room: E.01.0

-------------------------------------------------------------------------------------------------------------------------

Before commencing work, a risk assessment (assessment of the potential risks) to be undertaken for the planned work that relates to genetic safety level S1 (laws GenTG §§ 6,7; GenTSV §§ 5,7 and appendix II). Commencement of further S1 work in the designated S1 labs does not require further registration or acceptance, but does need to follow codes of practice of rule GenTAufzV (see 4.5).

Date of Registration:			27.02.2012

Number:				66230-

Project responsibility: 		Prof. Dr. Robert J. Paxton

Lab responsibility:			Prof. Dr. Robert J. Paxton

Responsibility for biological

safety:					Dr. Simon Tragust

-------------------------------------------------------------------------------------------------------------------------

4. Use of S1 laboratory areas

4.1 Rules over naming of area: "S1"  and  "Genetics laboratory"

(genetic working area at safety level S 1)

4.2 Biological agents in use (Organisms employed):

E. coli

4.3 Dangers for humans and the environment

In this area, only biological materials without risk of danger will be used.

4.4 Rules for safe working

- The doors of the rooms must be kept closed during S1 genetic work.

- No drinking, eating or smoking in the labs. Food and tobacco may not be kept in the laboratories.

- Lab coats must be worn in the laboratories.

- Mouth pipettes are forbidden; use mechanical pipettes.

- Syringes and needles are only to be used when absolutely necessary and, after use, must be collected in a sharps box labelled for S1 waste.

- The generation of aerosols should be avoided where ever possible (work in the clean bench if the generation of aerosols is a risk)

- If biological materials are split, the contaminated area must be disinfected (with Mikrozid/Roth/Virkon).

- After finishing work, the work surfaces must be disinfected (Mikrozid/Roth/Virkon).

- After finishing work and before leaving the lab, hands must be thoroughly washed and disinfected (with Sterilium)

- Labs must be kept tidy and clean. Only have necessary equipment and materials on the bench. Supplies for S1 work must be kept in the S1 room or cupboard dedicated for them.

- The identity of the organisms used in S1 work should be checked regularly (by PCR/sequencing their species-specific gene every12 months).

- Genetically modified organisms must be recorded and kept in a designated place (E01.0) and clearly labelled.

- Genetically modified organisms must be transported in closed, break-proof containers.

4.5 Responsibilities for registration

- For the carrying out of genetic work, particularly of "additional genetic work", the following details need to be registered: name, date, start date, end date, type of work, microorganisms to be used, particularities of the work, change in personnel, etc.. (Laws §6GenTG; GenTAufzV).

- The registration details must be sufficient for the requirements of the law: GenTAufzV.

- Use Form Z (Formblatt Z) for registration.

- The registration paperwork must be kept with the project responsibe person (Prof. Dr. Robert Paxton).

- The registration paperwork must be kept for 10 years (Law GenTAufzV).

4.6 Hygiene

- Protective clothing (lab coats) must be changed before leaving the labs. Protective clothing is to be stored apart from every day clothing and lab coats must remain in the lab.

- After finishing work and departing the lab, hands must be disinfected (with Sterilium).

4.7 Disposal

Safety class S1 organisms must be thrown away into unbreakable waste container, the exact nature of which depends on the organism in use. Contaminated waste and microorganisms must be killed by autoclaving/sterilisation before disposal using the autoclave in room 6.01.0. Genetically modified organisms and other S1-contaminated waste must be transported in closed, break-proof and clearly S1-labelled containers to the autoclave.

-------------------------------------------------------------------------------------------------------------------------

5. Emergency procedures

-------------------------------------------------------------------------------------------------------------------------

5.1 Escape of biological materials

Spilt materials (GMOs, microorganisms) must be inactivated immediately with disinfectant (Mikrozid/Roth/Virkon) and the spill mopped up with paper towels. Dispose of paper towels in S1-labelled waste containers to be autoclaved.

5.2 Injury, Accident

Notify the project responsible (Prof. Dr. Robert Paxton) of all injuries and record them in the accidents and incidents book (Mrs. Anja Miertsch). As far as possible, disinfect and cover all wounds as part of the general disinfection procedure following an accident.

Project responsible 			Tel.:	0345/55-26500  (Prof. Dr. Robert Paxton)

Biological safety officer 		Tel.:	0345/55-26510  (Dr. Simon Tragust)

First Aider 	Tel.: 	0345/55-25105  (Dr. Peter Lindemann, 7th floor, Room 714, HW8-South)

Accident/emergency doctor 		Tel.  	112

## Doctor in residence for Zoology 	Tel. 	0345/ 557 1829, 0345/ 557 1304  (Mrs. U. Jendrezok)